` ERIE COUNTY DEPARTMENT OF ENVIRONMENTAL SERVICES - SEWER RULES ADOPTED JANUARY 13, 1992 RESOLUTION NO. 92-15 AMENDED RESOLUTIONS: NO. 94-240, 02-272, 02-281, 04-312, 10-269 11-123, 11-305, 13-338, 14-76, 21-193

RULE 7 -	DISPOSAL RATES AND CONDITIONS FOR THE ACCEPTANCE AND DISPOSAL OF SEPTAGE AND LANDFILL LEACHATE WASTE PRODUCTS AT THE HURON BASIN WASTEWATER TREATMENT PLANT.

Section 1.	Septage waste originating from Erie County addresses will be accepted for disposal only at the Huron Basin Wastewater Treatment Plant at the following listed rates effective August 1, 2021:

Truck Tank Volume			Cost Per Load

0-2,000 gallons			$100.00

2,001 – 3,000 gallons		$150.00

3,001 – 4,000 gallons		$200.00

4,001 – 5,000 gallons		$250.00

5,001 – 6,000 gallons		$300.00

6,001 gallons or more		$350.00

Section 2.	Landfill leachate will be accepted for disposal only at the Huron Basin Wastewater Treatment Plant at the following listed rate effective August 1, 2021:

Truck Tank Volume			Cost Per Load

0-7,000 gallons			$350.00

Section 3.	Restaurant grease is not accepted for disposal at any Wastewater Treatment Plant effective February 6, 2014.

16

ERIE COUNTY DEPARTMENT OF ENVIRONMENTAL SERVICES - SEWER RULES ADOPTED JANUARY 13, 1992 RESOLUTION NO. 92-15 AMENDED RESOLUTIONS: NO. 94-240, 02-272, 02-281, 04-312, 10-269 11-123, 11-305, 13-338, 14-76, 21-193

RULE 7 -	DISPOSAL RATES AND CONDITIONS FOR THE ACCEPTANCE AND DISPOSAL OF SEPTAGE AND LANDFILL LEACHATE WASTE PRODUCTS AT THE HURON BASIN WASTEWATER TREATMENT PLANT.

Section 4.	The following conditions will apply to disposal of septage wastes and landfill leachate at the Huron Basin Wastewater Treatment Plant:

A.	Loads shall be delivered between the hours of 7:00 a.m. and 4:00 p.m., Monday through Friday, and 7:00 a.m. to 12:00 p.m. on Saturdays and Sundays. No loads of any kind are accepted on National Holidays.

B.	Erie County, through its’ authorized agent(s), reserves the right to refuse septage and landfill leachate at any time for operational reasons.

C.	Haulers shall notify the plant operator and identify their waste and origin, in person, before discharging waste into the plant.

D.	Haulers shall fill out and sign the septage disposal and landfill leachate record form before leaving the plant.

E.	Any haulers who fail to follow the rules and to correctly identify the origin and content of their waste will lose their disposal privileges.

F.	Erie County, through its authorized agent(s), may require samples to be taken and analyzed to confirm the contents of the hauler’s load.  Lab costs will be billed to the hauler and shall be at rates charged as published in Rule 21 and shall be due within thirty (30) days of invoice date.

- The hauler shall maintain Workers Compensation, real property, and vehicle accident insurance, and provide such proof to the Erie County Department of Environmental Services as annually purchased or renewed. All haulers shall indemnify and hold harmless the Board of County Commissioners of Erie County, Ohio, its agents and employees from any and all losses, claims, damages, lawsuits, costs, judgments, expenses or any other liabilities which they may incur as a result of bodily injury, sickness, disease or death, or injury to or destruction of tangible properly including the loss of use resulting there from, caused in whole or part by the negligent act or omission of the hauler, any person directly or indirectly employed by the hauler or any person for whose acts any of them may be liable.

17

ERIE COUNTY DEPARTMENT OF ENVIRONMENTAL SERVICES - SEWER RULES ADOPTED JANUARY 13, 1992 RESOLUTION NO. 92-15 AMENDED RESOLUTIONS: NO. 94-240, 02-272, 02-281, 04-312, 10-269 11-123, 11-305, 13-338, 14-76, 21-193

RULE 7 -	DISPOSAL RATES AND CONDITIONS FOR THE ACCEPTANCE AND DISPOSAL OF SEPTAGE AND LANDFILL LEACHATE WASTE PRODUCTS AT THE HURON BASIN WASTEWATER TREATMENT PLANT.

Section 5.	There shall be a One Thousand Dollar ($1,000.00) penalty and denial of access to the Sawmill Creek and Huron Basin Wastewater Treatment Plants imposed on any individual or corporation that causes, either directly or indirectly, any unauthorized discharge of septage, landfill leachate, or grease waste products into the respective wastewater treatment plants.

Section 6.	Discharge to the sewerage system of any septage, landfill leachate, or grease waste containing toxic compounds or biocides that inhibit or disrupt the normal biological treatment processes of the Publicly Owned Treatment Works (POTW); such as septage and grease wastes from the holding tanks of recreational vehicles, boats, campgrounds, marinas or portable toilets, is prohibited.

Section 7.	No person shall access the sewerage system or POTW for any activity, including discharge of hauled septic or industrial wastes, except at locations and at times as designated by the Utilities Director or equivalent.  Any removal of manhole lids, or other access to the sewerage system for the purpose of discharging wastes at times and/or locations other than those designated by the Utilities Director or equivalent, or without the expressed permission of the Utilities Director or equivalent, shall be considered a violation of these rules and shall be subject to the appropriate enforcement action.

18